Advanced Medical Supply, Inc

CLIENT/PATIENT VISIT REPORT

EQUIPMENT MAINTENANCE

info@advancedmedicalsupply.net

Phone: 773-205-6993     Fax:773-205-6994

Patient Name: Nelson – Brown, Marisa Date: 03-18-24 Address: 2595 Harnish Dr Algonquin, IL 60102 Phone: 773-844-7437- Cell

EQUIPMENT INFORMATION New Column SN# - Item: Portable Oxygen system HME: (Manufacturer): Inogen Model: One G5 Serial#: 22242768 Hours:_____45MIN____Setting(s):________N/A________ Next PM Due: Date_______________Hours:______________PM Sticker Present: □Yes □No Maintenance Performed: Warranty replacement of column pair. - □ EQUIPMENT EXCHANGE: - NewUnitModel:_______________________SN:_____________________________Reason:____________________ - □ EQUIPMENT D/C'd: Reason________________________________________________________________________________________

PLAN OF SERVICE Equipment functional? □ Yes □ No ( If not, was it □ Repaired or □ Replaced?) Client reeducated on the following? □ Use of Equipment □ Doctor's Prescription □ Emergency Preparedness □ Troubleshooting Equipment □ Fire / Electrical / Home Safety □ When to call for services □ Changes in Doctor's Orders □ Use of Back up Equipment Comments:______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Falls Assessment completed and reviewed? □ Yes □ No Any falls hazards determined during assessment? □ Yes □ No, If Yes, Document concerns and information given the Client:______________________

I acknowledge performance of the Client Visit and Plan of Service on the date noted:

Client:________________________           Date:____________________      Technician:_________________________