Advanced Medical Supply, Inc

CLIENT/PATIENT VISIT REPORT

EQUIPMENT MAINTENANCE

info@advancedmedicalsupply.net

Phone: 773-205-6993     Fax:773-205-6994

Patient Name: Young, Edward Date: 08-22-24 Address: 1006 S 6th Ave Unit 1 Maywood IL 60153 Phone: (708)476-5605- Cell

EQUIPMENT INFORMATION - Item: Power wheelchair, Group 2, Folding (K0822) HME: (Manufacturer): Merits Model: P101AUAZMU1B Serial#: TMU20100119 Hours:_____45MIN____Setting(s):_N/A Battery Capacity: Left__________; Right _______________ Maintenance Performed: Warranty replacement of batteries and Charger. □ Loaner Power Wheelhcair HME: (Manufacturer): Model: Serial#: - □ EQUIPMENT EXCHANGE: - NewUnitModel:_______________________SN:_____________________________Reason_____________________ - □ EQUIPMENT D/C'd: Reason________________________________________________________________________________________

PLAN OF SERVICE Equipment functional? □ Yes □ No ( If not, was it □ Repaired or □ Replaced?) Client reeducated on the following? □ Use of Equipment □ Doctor's Prescription □ Emergency Preparedness □ Troubleshooting Equipment □ Fire / Electrical / Home Safety □ When to call for services □ Changes in Doctor's Orders □ Use of Back up Equipment Comments: __________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Falls Assessment completed and reviewed? □ Yes □ No Any falls hazards determined during assessment? □ Yes □ No, If Yes, Document concerns and information given the Client:______________________

I acknowledge performance of the Client Visit and Plan of Service on the date noted:

Client:________________________           Date:____________________      Technician:_________________________