Advanced Medical Supply, Inc

CLIENT/PATIENT VISIT REPORT

EQUIPMENT MAINTENANCE

info@advancedmedicalsupply.net

Phone: 773-205-6993     Fax:773-205-6994

Patient Name: Franklin, Marian Date: 12-23-24 Address: 4032 S State St Apt 1S Chicago IL 60609 Phone: 872-244-7265- cell 773-368-3981- Malcolm Son

EQUIPMENT INFORMATION - Item: Heavy Duty Hospital bed with rail and mattress HME: (Manufacturer): Drive Model: 15306 Serial#: 15210400410 Hours:_____45MIN____Setting(s):________N/A________ Next PM Due: Date_______________Hours:______________PM Sticker Present: □Yes □No Maintenance Performed: Replace Shaft for H/D hospital bed. - □ EQUIPMENT EXCHANGE: - NewUnitModel:_______________________SN:_____________________________Reason_____________________ - □ EQUIPMENT D/C'd: Reason________________________________________________________________________________________

PLAN OF SERVICE Equipment functional? □ Yes □ No ( If not, was it □ Repaired or □ Replaced?) Client reeducated on the following? □ Use of Equipment □ Doctor's Prescription □ Emergency Preparedness □ Troubleshooting Equipment □ Fire / Electrical / Home Safety □ When to call for services □ Changes in Doctor's Orders □ Use of Back up Equipment Comments:______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Falls Assessment completed and reviewed? □ Yes □ No Any falls hazards determined during assessment? □ Yes □ No, If Yes, Document concerns and information given the Client:______________________

I acknowledge performance of the Client Visit and Plan of Service on the date noted:

Client:________________________           Date:____________________      Technician:_________________________