Advanced Medical Supply, Inc

CLIENT/PATIENT VISIT REPORT

EQUIPMENT MAINTENANCE

info@advancedmedicalsupply.net

Phone: 773-205-6993     Fax:773-205-6994

Patient Name: Rash, Carol Date: 11-04-24 Address: 1750 W Peterson Ave #211 Chicago IL 60660 Phone: 773-499-8953

EQUIPMENT INFORMATION - Item: Oxygen Concentrator HME: (Manufacturer): Respironics Model: 1020001 Serial#: 0364986 Hours:_____45MIN____Setting(s):________N/A________ Next PM Due: Date_______________Hours:______________PM Sticker Present: □Yes □No - □ EQUIPMENT EXCHANGE: - NewUnit:_Respironics_1020001 SN: Reason : Alarm - Maintenance Performed: Check or Replace Oxygen Concentrator, Replace oxygen Filter and tubing.

`PLAN OF SERVICE Equipment functional? □ Yes □ No ( If not, was it □ Repaired or □ Replaced?) Client reeducated on the following? □ Use of Equipment □ Doctor's Prescription □ Emergency Preparedness □ Troubleshooting Equipment □ Fire / Electrical / Home Safety □ When to call for services □ Changes in Doctor's Orders □ Use of Back up Equipment Comments:__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Falls Assessment completed and reviewed? □ Yes □ No Any falls hazards determined during assessment? □ Yes □ No, If Yes, Document concerns and information given the Client:______________________

I acknowledge performance of the Client Visit and Plan of Service on the date noted:

Client:________________________           Date:____________________      Technician:_________________________