Advanced Medical Supply, Inc

CLIENT/PATIENT VISIT REPORT

EQUIPMENT MAINTENANCE

info@advancedmedicalsupply.net

Phone: 773-205-6993     Fax:773-205-6994

Patient Name: Salinas, Edelia Date: 02/11/25 Address: 3145 N Drake Ave House Chicago IL 60618 Phone: 706-372-6035

EQUIPMENT INFORMATION - Item: Portable Oxygen system HME: (Manufacturer): Inogen Model: One G5 Serial#: 24042547 Hours:_____45MIN____Setting(s):________N/A________ Next PM Due: Date_______________Hours:______________PM Sticker Present: □Yes □No Maintenance Performed: Warranty replacement of column pair. Original Column SN# SN-COLC-240329141 New Column SN# SN-COLB-250627774

PLAN OF SERVICE Equipment functional? □ Yes □ No ( If not, was it □ Repaired or □ Replaced?) Client reeducated on the following? □ Use of Equipment □ Doctor's Prescription □ Emergency Preparedness □ Troubleshooting Equipment □ Fire / Electrical / Home Safety □ When to call for services □ Changes in Doctor's Orders □ Use of Back up Equipment Comments:______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Falls Assessment completed and reviewed? □ Yes □ No Any falls hazards determined during assessment? □ Yes □ No, If Yes, Document concerns and information given the Client:______________________

I acknowledge performance of the Client Visit and Plan of Service on the date noted:

Client:________________________           Date:____________________      Technician:_________________________