Advanced Medical Supply, Inc

CLIENT/PATIENT VISIT REPORT

EQUIPMENT MAINTENANCE

info@advancedmedicalsupply.net

Phone: 773-205-6993     Fax:773-205-6994

Patient Name: Beck, Shirley Date:02-12-24 Address: 3222 W Maypole Ave Apt 206 Chicago IL 60624 Phone: 312-538-8489

EQUIPMENT INFORMATION - ITEM: Power Wheelchair, Group 2, Captain Chair HME: (Manufacturer): Merits Model: 5731A1ARHUB Serial#: TMU220300885 Hours:____45min______Setting(s):_________N/A__________Next PM Due: Date_______________Hours:______________PM Sticker Present: □Yes □No Maintenance Performed: Warranty replacement of batteries. □ EQUIPMENT EXCHANGE NewUnit_______________________SN:_____________________________Reason_______________________ □ EQUIPMENT D/C'd Reason:_____________________________________________________________

PLAN OF SERVICE Equipment functional? □ Yes □ No ( If not, was it □ Repaired or □ Replaced?) Client reeducated on the following? □ Use of Equipment □ Doctor's Prescription □ Emergency Preparedness □ Troubleshooting Equipment □ Fire / Electrical / Home Safety □ When to call for services □ Changes in Doctor's Orders □ Use of Back up Equipment Comments: Replaced Battery pack, Unit was fully inspected and tested. Return Unit to The Patient ASAP. ____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Falls Assessment completed and reviewed? □ Yes □ No Any falls hazards determined during assessment? □ Yes □ No, If Yes, Document concerns and information given the Client:______________________

I acknowledge performance of the Client Visit and Plan of Service on the date noted:

Client:________________________           Date:____________________      Technician:_________________________